
Pre-application Document (PAD) 

South Kupreanof Micro-Hydro Project

Project No. 1
Applicant:  Douglas Leen
date:  November 2, 2017
PRE-APPLICATION DOCUMENT

Applicants must file a Pre-Application Document (PAD) (18 C.F.R. § 5.6) that provides existing information relevant to the project that is in the applicant's possession or that the applicant can obtain with the exercise of due diligence.  This existing, relevant, and reasonably available information is distributed in the form of the PAD to the Commission and interested stakeholders to enable these entities to identify issues and related information needs, develop study requests and study plans, and prepare documents analyzing any license application that may be filed with the Commission.  In summary, the PAD must contain the following information: 

· A description of the project's facilities and operation; 

· A description of the existing environment and any known and potential project effects on specific resources including: geology and soils; water resources; fish and aquatic resources; wildlife and botanical resources; wetlands, riparian, and littoral habitats; rare, threatened, and endangered species; recreation and land use; aesthetic resources; cultural resources; socioeconomic resources; tribal resources; and a description of the river basin; 

· A list of preliminary issues and studies that may be needed at the project; 

· An appendix summarizing contacts with stakeholders sufficient to enable the Commission to determine if due diligence has been exercised in obtaining relevant information; 

· A process plan and schedule for consulting stakeholders, gathering information, developing and conducting studies, obtaining permits and completing all pre-filing licensing activities; and 

· If applicable, a statement of whether or not the applicant will seek benefits under section 210 of the Public Utility Regulatory Policies Act of 1978 (PURPA). 

Applicants do not have to conduct studies in order to generate information for inclusion in the PAD.  Rather, an applicant must exercise due diligence in determining what information exists that is relevant to describing the existing environment and potential impacts of the project (including cumulative impacts), obtaining that information if the applicant does not already possess it, and describing or summarizing this information in the PAD.  Due diligence includes, but is not limited to, contacting appropriate stakeholders that may have relevant information and reviewing Federal and state comprehensive plans. 
All sources of information must be referenced in the appropriate sections of the PAD and must be contained in an appendix to the PAD. 
§ 5.6 (d)(1) - Process plan and schedule  The process plan must include:
Time frames for pre-application consultation, information gathering, and studies

Send PAD to stakeholders




December 2018 

Joint Agency Meeting/Site Visit



January 10, 2018

Study requests due





March 2018

Conduct studies (if needed)




May through July 2018

Draft License Application filed



September 2018

Final License Application filed



January 2019
Proposed location and date for scoping meeting and for the site visit [§ 5.8 (b)(3)(viii)]
January 10, 2018, on site.  
§ 5.6 (d)(2) - Project location, facilities, and operations.  The potential applicant must include in the Pre-Application Document:         

(i) Contact information of each person authorized to act agent for applicant (exact name, business address, and phone number)

Douglas Leen (owner), PO Box 341, Petersburg Alaska 99833 (907.518.0335) mail@dougleen.com
(ii) Maps of land use within project boundaries (township, range and section, state, county, river, river mile, and closest town) and, if applicable, Federal and Tribal lands, and location of proposed facilities

Attached .  
(iii) Detailed description of proposed facilities

(A) Composition, dimensions, and configuration of dams, spillways, penstocks, powerhouses, tailraces, etc. proposed to be included as part of the project or connected directly to it
Dam:  Sand-bag from local parent materials—approximately 50 bags to occupy stream aperture approximately 5’ X 3’ X 3’  Installed within this dam is a 36” X 18” X 18” aluminum box with a PVC perforated screen top to eliminate leaves/detritus from entering system.  See photos.  
Penstock:  PVC pipe 6” X 300’   The penstock will cross the stream once and will likely be sistered to a fallen tree or possibly a cable support to maintain constant gradient of pipe.   Span would be approximately 15’ depending upon grade.  Two trenches or tunnels (approximately 15’ long) will need to be dug through loose embankment sediments to shorten penstock due to stream meander. The penstock will be designed with the fewest angled joints and bends to reduce friction.   Photographs enclosed of entire 300’ penstock run.  (See photo #3 in Exhibit 2 (photos).  
Powerhouse:  3’ X 3’ X 1’ cement pad and AYC lumber shed (approx. 3’ X 4’ X 7’)  to protect turbine

Water will discharge directly into an open spillway from powerhouse foundation cement pad.  See Lucas design or example at http://www.scotthydroelectric.com/
(B) Reservoir normal maximum water surface area and elevation and gross storage capacity
Reservoir Surface Area (est):  100 square feet, 
Water increase height:  3’ behind spillway (See Lucas design—attached)
Gross Storage Capacity (est):  1000 gallons (133 cubic feet)
(C) Number, type and capacities of turbines and generators, and installed (rated) capacity of proposed turbines or generators
One 1.5 KW (Scott) overshot turbine @ 300 cubic feet/minute.   (http://www.scotthydroelectric.com/)
(D) Number, length, voltage, and interconnections of any primary transmission lines proposed to be included as part of the project, including a single-line diagram showing the transfer of energy from the project to the transmission grid or point of use 
250’ #6 copper 48V point to point connection to off-grid single family home.  
See Exhibit 1
(E) Energy production (estimate of dependable capacity, average annual, and average monthly energy production)

Average monthly energy production:  125 KW (est)
Average annual energy production:  625 KW  (estimate--water flow is sporadic)
(iv) Current (if applicable) and proposed project operation, including any daily or seasonal ramping rates, flushing flows, reservoir operations, and flood control operations
This is a natural stream which produces water from a trickle to 20,000 gpm (2600 cubic feet/minute) proportional to seasonal rainfall.  Annual rainfall Petersburg Alaska is approximately 120”   Anticipated maximum capture will be 350 gallons/minute.  The project would divert all flow from the creek from 0 gpm up to 300 gpm.  Any stream flow higher than 300 gpm would spill over the sandbag dam and continue down the natural stream channel.
(v) Existing license and project operations (if applicable) 

(1) Description of current license requirements (i.e., the requirements of the original license as amended during the license term)
N/A
(2) A summary of project generation and outflow records for the five years preceding filing of the Pre-Application Document
N/A
(3) Current net investment   None
(4) Project compliance history, if applicable, including a description of any recurring situations of non-compliance  N/A
(vi) A description of any new facilities or components to be constructed, plans for future development or rehabilitation of the project, and changes in project operation.
Dam will be constructed out of sand bags (alternatively Alaska Yellow Cedar 4” X 6” beams)
Penstock supports AYC 2” X 8” beams driven into ground to resistance

Powerhouse AYC simple shed (see dimensions above)
§ 5.6 (d)(3)(i) - Existing environment and resource impacts. A potential applicant must, based on the existing, relevant, and reasonably available information, include a discussion with respect to each resource that includes:

(A) Description of existing environment (See 5.6 (d)(3)(ii)-(xiii) below)
The project lies at the lowest end of a 1 square mile capture zone in muskeg.  Drainage focuses into a single creek (see attached photos) and runs seasonally.  
(B) Summaries (with references to sources of information or studies) of existing data or studies regarding the resource (Include here or incorporate into resource sections 5.6 (d)(3)(ii)-(xiii) below)
Flow records collected by the applicant.  No other data is known to exist.
(C) A description of any known or potential adverse impacts and issues associated with the construction, operation or maintenance of the proposed project, including continuing and cumulative impacts (Include here or incorporate into resource sections 5.6 (d)(3)(ii)-(xiii) below)
None.  All water would be returned to creek 300’ downstream.  No adverse effects expected.   
(D) A description of any existing or proposed project facilities or operations, and management activities undertaken for the purpose of protecting, mitigating impacts to, or enhancing resources affected by the project, including a statement of whether such measures are required by the project license, or were undertaken for other reasons.  The type and amount of the information included in the discussion must be commensurate with the scope and level of resource impacts caused or potentially caused by the proposed project.   Potential license applicants are encouraged to provide photographs or other visual aids, as appropriate, to supplement text, charts, and graphs included in the discussion.  (Include here or incorporate into the resource sections ii-xiii below)
None.
§ 5.6 (d)(3)(ii) - Geology and soils.  Descriptions and maps showing the existing geology, topography, and soils of the proposed project and surrounding area.  Components of the description must include:
(A) Description of geological features, including bedrock lithology, stratigraphy, structural features, glacial features, unconsolidated deposits, and mineral resources

The bedrock is described as a peletic Cretaceous schist and granites (post-glacial erratics).
(B) Description of soil types, occurrence, physical and chemical characteristics, erodability and potential for mass soil movement, and soil characteristics

 Muskeg with creek sediments and high concentration of decayed biomass. See photos.  
(C) Description of reservoir shorelines and streambanks, including

(1) Steepness, composition (bedrock and unconsolidated deposits), and vegetative cover

Less than 5’ thick muskeg over schist and glacial erratics.  Native flora.  Minimal gradient/steepness (25’/300’)  
(2) Existing erosion, mass soil movement, slumping, or other forms of instability, including identification of project facilities or operations that are known to or may cause these conditions
None.
§ 5.6 (d)(3)(iii) - Water resources.  A description of the water resources of the proposed project and surrounding area.  This must address the quantity and quality (chemical/physical parameters) of all waters affected by the project, including but not limited to the project reservoir(s) and tributaries thereto, bypassed reach, and tailrace.  Components of the description must include:

(A) Drainage area

The entire capture basin is approximately 1/2 mile square and with poor water quality (high in humic acid (bog water).   See aerial photograph, Exhibit 1 (Capture Basin—scale approximately 1 mile width of photograph).  
(B) The monthly minimum, mean, and maximum recorded flows in cubic feet per second of the stream or other body of water at the powerplant intake or point of diversion, specifying any adjustments made for evaporation, leakage, minimum flow releases, or other reductions in available flow
Minimum-Trickle.
Maximum- 44 cubic feet/second (2640 cubic feet/minute or 19,748 GPM)
Mean (average)—Depending upon rainfall, monthly flow might average 4.4 cubic feet/second.  
(C) A monthly flow duration curve indicating the period of record and the location of gauging station(s), including identification number(s), used in deriving the curve; and a specification of the critical streamflow used to determine the project's dependable capacity
See Excel graph— (Weir).  This flow chart was recorded for approximately 1 year (sporadically) in gpm.  Also see photograph of wier and veneer used to calculate this flow in same folder.  An identical veneer was placed at the containment site to correlate creek height vs. flow rates.   
(D) Existing and proposed uses of project waters for irrigation, domestic water supply, industrial and other purposes, including any upstream or downstream requirements or constraints to accommodate those purposes
None.  All water will be returned to creek.
(E) Existing instream flow uses of streams in the project area that would be affected by project construction and operation; information on existing water rights and water rights applications potentially affecting or affected by the project
None.
(F) Relevant federally-approved water quality standards applicable to project waters

None. 
(G) Project effects on seasonal variation of water quality data, including

(1) Water temperature and dissolved oxygen, including seasonal vertical profiles in the reservoir
N/A
(2) Other physical and chemical parameters to include, as appropriate for the project; total dissolved gas, pH, total hardness, specific conductance, cholorphyll a, suspended sediment concentrations, total nitrogen (mg/L as N), total phosphorus (mg/L as P), and fecal coliform (E. Coli) concentrations
N/A
(H) The following data with respect to any existing or proposed lake or reservoir associated with the proposed project; surface area, volume, maximum depth, mean depth, flushing rate, shoreline length, substrate composition
N/A
(I) Gradient for affected downstream reaches

N/A
§ 5.6 (d)(3)(iv) - Fish and aquatic resources.  A description of the fish and other aquatic resources, including invasive species, in the project vicinity.  This section must discuss the existing fish and macroinvertebrate communities, including the presence or absence of anadromous, catadromous, or migratory fish, and any known or potential upstream or downstream impacts of the project on the aquatic community.  Components of the description must include:
(A) Identification of existing fish and aquatic communities

No fish in this creek.  The water quality is very acidic (bog water) and not potable.  
(B) Identification of essential fish habitat as defined under the Magnuson-Stevens Fishery Conservation and Management Act and established by the National Marine Fisheries Service
N/A
(C) Temporal and spatial distribution of fish and aquatic communities and trends with respect to:

(1) Species life stage composition

N/A
(2) Standing crop

N/A
(3) Age and growth data
N/A
(4) Spawning run timing

N/A
(5) Extent and location of spawning, rearing, feeding, and wintering habitat

N/A
§ 5.6 (d)(3)(v) - Wildlife and botanical resources.  A description of the wildlife and botanical resources, including invasive species, in the project vicinity.  Components of this description must include:

(A) Upland habitat(s) in the project vicinity, including the project's transmission line corridor or right‑of‑way and a listing of plant and animal species that use the habitat(s)
Native SE muskeg flora with Sitka blacktail deer, Moose, wolf, otter, mink, squirrel, & mice!  Birds limited to ground species due to thick ground cover (winter wren, etc.).  
(B) Temporal or special distribution of commercially, recreationally, or culturally important species

Sitka blacktail deer, occasional moose, wolf, otter, mink, squirrel and mice!  
§ 5.6(d)(3)(vi) Description of floodplains, wetlands, riparian, and littoral habitat.  A description of the floodplain, wetlands, riparian habitats, and littoral in the project vicinity.  Components of this description must include:
(1) A list of plant and animal species, including invasive species, that use the wetland, littoral, and riparian habitat 

See lists above.  
(2) Map of wetlands, riparian and littoral habitat

See attached maps
(3) Estimates of acreage for each type of wetland, riparian, or littoral habitat, including variability in such availability as a function of storage at a project that is not operated in run-of-river mode
Entire capture area would be approximately ½ mile square or 320 acres.  Total acreage of project footprint approximately 300 square feet or 0.0069 acres.  See aerial photograph.
§ 5.6 (d)(3)(vii) - Rare, threatened, and endangered species.  A description of any listed rare, threatened and endangered, candidate, or special status species that may be present in the project vicinity.  Components of this description must include:

(A) Description of listed rare, threatened and endangered, candidate, or special status species in the project vicinity. 

None
(B) Identification of habitat requirements

N/A
(C) References to known biological opinion, status reports, or recovery plans pertaining to a listed species

N/A
(D) Extent and location of federally-designated critical habitat or other habitat for listed species in the project area
N/A
(E) Temporal and spatial distribution of the listed species within the project vicinity
N/A
§ 5.6 (d)(3)(viii) - Recreation and land use.  A description of the existing recreational and land uses and opportunities within the project boundary.  The components of this description include:

(A) Text description illustrated by maps of existing recreational facilities, type of activity supported, location, capacity, ownership and management
USFS/Private land prohibits hunting.  
(B) Recreational use of lands and waters compared to facility or resource capacity
None.
(C) Existing shoreline buffer zones within the project boundary
None.
(D) Current and future recreation needs from existing state or regional plans

None.
(E) If the potential applicant is an existing licensee, its current shoreline management plan or policy, if any, with regard to permitting development of piers, boat docks and landings, bulkheads, and other shoreline facilities on project lands and waters
N/A
(F) A discussion of whether the project is located within or adjacent to a:
(1) Designated or under study for inclusion in the National Wild and Scenic River system

N/A
(2) A state-protected river segment

N/A
(G) Description of project lands under study for inclusion in the National Trails System or as a Wilderness Area

N/A
(H) Regionally or nationally important recreation areas

N/A
(I) Non-recreational land use and management within the project boundary

N/A
(J) Recreational and non-recreational land use and management adjacent to the project boundary

N/A
§ 5.6 (d)(3)(ix) – Aesthetic Resources.  A description of the visual characteristics of the lands and waters affected by the project.   Components of this description include a description of the dam, natural water features, and other scenic attractions of the project and surrounding vicinity.  Potential applicants are encouraged to supplement the text description with visual aids.
None.  This project is invisible to any maritime or motorized visitors.  The strip of land on both sides of the Wrangell Narrows was logged in the 1920s (on my property and adjacent) and now has 150’ second growth again.  The creek in question is completely invisible as is the slough it empties in to—all tucked behind a point of land that is parallel to the shoreline—see aerial photos.  
§ 5.6 (d)(3)(x) - Cultural Resources.  A description of the known cultural or historical resources of the proposed project and surrounding area.  Components of this description include:

(A) Identification of any historic or archaeological site in the proposed project vicinity, with particular emphasis on sites or properties either listed in, or recommended by the State Historic Preservation Officer or Tribal Historic Preservation Officer for inclusion in, the National Register of Historic Places
The entire Petersburg area was inhabited by Tlinget historically.  There are no historic or archeological sites listed on this property or adjacent USFS land.  
(B) Existing discovery measures, such as surveys, inventories, and limited subsurface testing work, for the purpose of locating, identifying, and assessing the significance of historic and archaeological resources that have been undertaken within or adjacent to the project boundary
None. 
(C) Identification of Indian tribes that may attach religious and cultural significance to historic properties within the project boundary or in the project vicinity; as well as available information on Indian traditional cultural and religious properties, whether on or off of any Federally-recognized Indian reservation.  Do not disclose any information that would create a risk of harm, theft, or destruction of archeological or Native American cultural resources or to the site at which the resources are located, or would violate any Federal law, including the Archaeological Resources Protection Act and the National Historic Preservation Act.
Tlingit (Petersburg Indian Association)
§ 5.6 (d)(3)(xi) - Socio-economic Resources.  A general description of socio-economic conditions in the vicinity of the project.  Components of this description include general land use patterns (e.g., urban, agricultural, forested), population patterns, and sources of employment in the project vicinity. 

 This project is within private property (mine) and the USFS land only.  It’s a roadless area, no hunting.  The local economy is commercial fishing and subsistence living.  
§ 5.6 (d)(3)(xii) - Tribal Resources.  A description of Indian tribes, tribal lands, and interests that may be affected by the project   Components of this description include:

(A) Identification of information on resources specified in paragraphs (d)(2)(ii)-(xi) of this section to the extent that existing project construction and operation affecting those resources may impact tribal cultural or economic interests, e.g., impacts of project-induced soil erosion on tribal cultural sites
N/A
(B) Identification of impacts on Indian tribes of existing project construction and operation that may affect tribal interests not necessarily associated with resources specified in paragraphs (d)(3)(ii)-(xi) of this section, e.g., tribal fishing practices or agreements between the Indian tribe and other entities other than the potential applicant that have a connection to project construction and operation.
N/A
§ 5.6 (d)(3)(xiii) – River Basin Description.  A general description of the river basin or sub-basin, as appropriate, in which the proposed project is located, including information on:   

 (A) Area of river basin and sub-basin and length of stream reaches

This creek flows into a saltchuck slough behind my house and thense into the Wrangell Narrows.  
(B) Major land and water use in project area

The land associated with this project is all USFS/Private with no public water use of creek or slough (slough is entirely owned privately)
(C) All dams and diversion structures in the basin or sub-basin, regardless of function
My two neighbors to the south—1/4 mile (Thynes) and ½ mile (Lucas) each have a similar small dam to contain water for consumption or hydro.  These are on private property.  
(D) Tributary rivers and streams, the resources of which are or may be affected by project operations
This creek flows into a saltchuck slough behind my house and thense into the Wrangell Narrows.  
§ 5.6 (d)(4) - Preliminary issues and studies list for each resource area.  Based on the resource description and impacts discussion required by paragraphs (d)(1) and (d)(2) of this section; the Pre-Application Document must include with respect to each resource area identified above, a list of:

(i) Issues pertaining to the identified resources

N/A
(ii) Potential studies and information gathering requirements associated with the identified issues;

N/A
(iii) Relevant qualifying Federal and state or tribal comprehensive waterway plans
N/A
(iv) Relevant resource management plans
Tongass National Forest Land & Recource Management Plan (2016)
§ 5.6 (d)(5) - Summary of contacts.  An appendix summarizing contacts with Federal, state, and interstate resource agencies, Indian tribes, non-governmental organizations, or other members of the public made in connection with preparing the Pre-Application Document sufficient to enable the Commission to determine if due diligence has been exercised in obtaining relevant information.  

Federal, state and interstate resource agencies

USFS
Army Corps of Engineers

Alaska Department of Natural Resources

Indian tribes

Petersburg Indian Association 
Non-governmental organizations and members of the public

City of Kupreanof 
§ 5.6 (e) PURPA Benefits.  If applicable, the applicant must also provide a statement of whether or not it will seek benefits under section 210 of the Public Utility Regulatory Policies Act of 1978 (PURPA) by satisfying the requirements for qualifying hydroelectric small power production facilities in § 292.203 of this chapter.  If benefits under section 210 of PURPA are sought, a statement of whether or not the applicant believes the project is located at a new dam or diversion (as that term is defined in § 292.202(p) of this chapter), and a request for the agencies' view on that belief, if any.

PAGE  
7

